## Slide 1
The Solar - Eco - Dream Home / Life - 1995
Why
?
Notes: 52

## Slide 2
Future World Choices
HARVESTING NATURE’S BOUNTY
WITHOUT DESTROYING THE EARTH
250 miles x 250 miles
Let’s Run the World..
All it Takes
WITH SOLAR ENERGY

## Slide 3
A SHARED DREAM - TEAM WORK
A
E
S
NECESSARY CHANGES:
Planners / appearance
Building Regs (Fire / structural / weight)
Utilities (First Connection Contract – SE)
Designed and Tested Support System (EETS)
Built and Connected in-situ (CAT)
Ventilated Ridge Tile (Redland Roofing RR)
Integrated PV and Solar Hot water (AES + BP)
AC System Design & Testing (Alan Dichler AD)
GAS / SHW integration (Yorkpark – YP)
Skylight Integration (Velux)
EETS
BP
CAT
AD
YP
BRIT
GAS
Lifestyles and Electric Car Dreams
Do Well By Doing Good

## Slide 4: Solar system AC output and consumption profile for best summer day
6 8 10 12 14 16 18 20 22 24 2 4 6
Hour of day
Typical summer output
Summer consumption
2000
1800
1600
1400
1200
1000
800
600
400
200
0
Watts
SHIFT AND SHAVE
LOAD
USE YOUR
OWN ENERGY
SOLAR OPPORTUNITIES ARE SEEN AS TECHNOLOGICAL + BEHAVIOURAL
Not Architectural
?
Notes: 20

## Slide 5
But the Secret of a Successful
Solar House lies in
the Building Itself
And its Ability to Harvest, Manage and Store Energy
(Passive Design)
Double
Efficiency
Machines
Generate
Solar + Use
Generate Solar + Store + Use

## Slide 6: STEP 1: Design a Good Basic Building
The Elements of the Building you cannot change:
Plan – Footprint
Section - Connections
Orientation / Openings / Mass Emissivity / Absorptivity are critical to the Basic Thermal Pulse of the Building
UK - Good
UK –So/So ?
UK - Bad
Overheats
Overheats too much

## Slide 7
Hot
Air Lock
Cold
Air Lock
Minimum Surface To Volume Area
Warm Core
Coupled to the
Stove
Radiator
Calorific
Cascade
Building Form and Orientation
Notes: 17

## Slide 8
Extra Solar Gain in Winter
Avoiding Overheating in Summer
ORIENTATION

## Slide 9
Envelope Choices
No West Facing Windows – reduced heat gain
Large glass windows into hot airlock only
All non-airlock windows – reasonable size
No cold bridges – even in floors
SHADING
Raincoat
Overcoat
Notes: 17

## Slide 10
Radiator
Radiator
Ventilation Strategies
Stack Ventilation
In Hot Spells
Good Cross ventilation flow
Winter
Summer
Hot Spell
Hot Spell
COOLED
AIR
FROM GARDEN
COOLED
AIR
FROM GARDEN
Warm Flue
Notes: 18

## Slide 11: Energy Loads, Costs and Impacts Vary in 3 Different Level 1 Buildings
Much Extra Energy Needed
Some Extra Energy Needed
Bad Building
So/So Building
Good Building
Upper Limit
In Local Climate
Lower Limit
In Local Climate
Acceptable Amplitude for a Good Building
No Extra
Energy Needed

## Slide 12
THE OXFORD ECOHOUSE - A WELL BEHAVED BUILDING

## Slide 13: DESIGN LEVEL 2: ADAPTIVE OPPORTUNTIES
Elements you can Change for Climate Control
U-values / Occupancy / Internal Loads / Opening Windows / Infiltration / Furnishings / Local-Central Heating /Cooling systems / Shades / Curtains / Blinds / Conservatories / Porches / Landscape..
Machines are only level 2 / replaceable elements

## Slide 14
Mechanical Heating
Mechanical Cooling
Mechanical Heating
High Energy Building
Mechanical Cooling
Natural Ventilation – opening windows – with shutters / shade / curtains to Pre-heat / cool air
Passive Solar Heating with good summer shading and orientation so no over-heating - thermal mass
Low Energy Building
Same LEVEL 1: SO/SO Building can be a Good or Bad Energy Building
Depending on the LEVEL 2 Adaptive Opportunities it offers occupants
Too Many HVAC Engineers
GOOD SOLAR BUILDING
BAD SOLAR BUILDING

## Slide 15: STEP 3: THE THINGS TO DO WITH THE MIND
SENSATION: Involving Feelings, Perception, First Impressions
View – Art - Sounds - Scents –Style - Colour – Light - Formal Composition of Shapes - Decoration - Furnishings - people / events associated with the building etc.
WOW
Immediate Impact
WELL BEING
Deeper sensation
Too Many Architects
DELIGHT
SOLAR OFTEN CONFLICTS WITH ‘WOW ASPIRATIONS OF ARCHITECTS

## Slide 16
20 YEARS ON – THERE ARE OVER A MILLION SOLAR HOMES IN BRITAIN
SHARING THE DREAM

## Slide 17
Inverter that continues to work
When the grid fails
(with some battery capacity)
SMA Battery Installed
Update Gas Condensing Boiler
Range of local heating
And cooling technologies
Electric car charging point
LED lighting throughout
DC equipment and lighting loops
THE SOLAR HOME DREAM JUST
KEEPS GETTING BETTER

## Slide 18
http://www.sma.de/en/products/solarinverters/sunny-boy-3600-5000-smart-energy.html

## Slide 19
Daily Production 12.284kWh
Daily Production 11.11kWh
First Day
Most Recent Reading
Reading from the 21 year old 4 kWp system on the Oxford Ecohouse

## Slide 20
Iron Shirt for Work
Charging Electric Bike

## Slide 21
OXFORD ECOHOUSE - DESIGNED AND BUILT TO MAKE CHANGE HAPPEN

## Slide 22: Are schools of Architecture the Problem ?

## Slide 23: Do All our Brilliant Young Architects want to be Trained to be CAD Monkeys + Hairdressers ?